| Listing of equipment requiring Calibration and frequency of Calibration |  |  |
| --- | --- | --- |
| Equipment name | Frequency of Calibration | Responsibility |
| Sanitizer Application Equipment | Once per week | In house |
| Hand-held meat thermometers (x2) | Once per week | In house |
| Hose-end Applicator - PAA | Prior to use and min every 4 hours | In house |
| Data Loggers (x 6 cryopak) | Once per week | In house |
| Smokehouse probe | Once per month | In house |
| Wall Mounted thermometers (one in each refrigerated coolers/freezers) | Semi-annually | In house |
| Light meter | Annually | In house |
| Reference thermometer | Annually | External contractor |
| Scales (x12) | Every 4 months | External contractor |