Date:                                                   Person Responsible:______________________________

Check for the following:

Yes                        No

Is the lighting appropriate such that the intended production or inspection

activities can be effectively performed?

- 540 lux at all inspection stations and plant inspection sites (i.e. where determination of the CCP is being monitored)

- 110 lux in all areas where edible products are handled, and at the working surface level.

- 110 lux in coolers, at the level of the front shank of carcasses when the room is full with carcasses, and at the lowest level of open product storage (offals).

- 220 lux in all workroom, at the working surface level

- 110 lux in all other areas of the registered establishment where there are no products

Does the Lighting alter food color?					Yes			No

Corrective Actions Taken: ________________________________________________________

Date of Corrective Actions: _______________________________________________________

ADD THE MAP OF LIGHTS OF THE FACILITY HERE

Verification By:____________________________		Date:	________________________